## Slide 1: PROTEIN IDENTIFICATION
lennart martens
lennart.martens@vib-ugent.be
@compomics
computational omics and systems biology group
Ghent University and VIB, Ghent, Belgium

## Slide 2
Sequencial search algorithms
Decoys and false discovery rate calculation
Database search algorithms in three phases
MS/MS spectra and identification
Protein inference: bad, ugly, and not so good
The future: machine learning

## Slide 3
Sequencial search algorithms
Decoys and false discovery rate calculation
Database search algorithms in three phases
MS/MS spectra and identification
Protein inference: bad, ugly, and not so good
The future: machine learning

## Slide 4: Peptides subjected to fragmentation analysis can yield several types of fragment ions
NH2
C
H
CO
COOH
N
H
R1
R2
C
H
CO
N
H
C
H
CO
N
H
C
H
R3
R4
x3
y3
z3
x2
y2
z2
x1
y1
z1
a1
b1
c1
a2
b2
c2
a3
b3
c3
There are several other ion types that can be annotated, as well as
‘internal fragments’. The latter are fragments that no longer contain an intact
terminus. These are harder to use for ‘ladder sequencing’, but can still be interpreted.
This nomenclature was coined by Roepstorff and Fohlmann (Biomed. Mass Spec., 1984) and Klaus Biemann (Biomed.
Environ. Mass Spec., 1988) and is commonly referred to as ‘Biemann nomenclature’. Note the link with the Roman alphabet.

## Slide 5: In an ideal world, the peptide sequence will produce directly interpretable ion ladders
L E N N A R T
L
LE
LEN
LENN
LENNAR
LENNART
E
N
N
A
R
T
L
LENNA
T
RT
ART
NART
NNART
ENNART
LENNART
m/z
intensity

## Slide 6: Real spectra usually look quite a bit worse, which introduces ambiguity in interpretation
LE
LEN
LENNA
LENNART
intensity
[EL]
[EI]
[E[IL]]
[QN]
[KN]
T
ART
NART
LENNART
LE
/EL
N
NA / AN
[AN]
[QG]
[KG]
N
m/z

## Slide 7
Sequencial search algorithms
Decoys and false discovery rate calculation
Database search algorithms in three phases
MS/MS spectra and identification
Protein inference: bad, ugly, and not so good
The future: machine learning

## Slide 8: Database search engines match experimental spectra to known peptide sequences
database
in silico
digest
in silico
MS/MS
scoring
function
peptide seq.
theoretical spectra
experimental spectra
1) YSFVATAER 34
2) YSFVSAIR 12
3) FFLIGGGGK 12
…
peptide scores
protein inference

## Slide 9: Three popular algorithms illustrate the three types of scoring systems
SEQUEST (UWashington, Thermo Fisher Scientific)
Intensity-based scoring system
MASCOT (Matrix Science) / Andromeda (Jürgen Cox)
Peak counting-based scoring system
X!Tandem (The Global Proteome Machine Organization)
Hybrid scoring system

## Slide 10: SEQUEST is the original search engine, and is based on ion intensity matching
Can be used for MS/MS (PFF) identifications
Based on a cross-correlation score (includes peak height)
Published core algorithm (patented, licensed to Thermo), Eng, JASMS 1994
Provides preliminary (Sp) score, rank, cross-correlation score (XCorr),
and score difference between the top tow ranks (deltaCn, Cn)
Thresholding is up to the user, and is commonly done per charge state
Many extensions exist to perform a more automatic validation of results

## Slide 11: The correlation score (Ri) is calculated as the matched ion intensity
R0
m/z
R2
m/z
Int
R1
m/z
Int
Int
R-1
m/z
Int
R-2
m/z
Int
Eng, JASMS 1994
Yılmaz, Proteome Bioinformatics (MMB), Springer, 2017

## Slide 12: The cross-correlation score (Xcorr) is R0 calibrated by the average random correlation
XCorr =
correlation
score
Frequency
R0
[R-75, R75]
/R0
Eng, JASMS 1994
Yılmaz, Proteome Bioinformatics (MMB), Springer, 2017

## Slide 13: The best theoretical match is then compared to the second-best theoretical match
deltaCn =
m/z
Int
m/z
Int
XCorr1
XCorr2
Eng, JASMS 1994
Yılmaz, Proteome Bioinformatics (MMB), Springer, 2017

## Slide 14: Mascot is an equally recognized search engine, but is based on peak counting
Very well established search engine, Perkins, Electrophoresis 1999
Can do MS (PMF) and MS/MS (PFF) identifications
Based on the MOWSE score,
Unpublished core algorithm (trade secret)
Predicts an a priori threshold score that identifications need to pass
From version 2.2, Mascot allows integrated decoy searches
Provides rank, score, threshold and expectation value per identification
Customizable confidence level for the threshold score

## Slide 15: Through Andromeda, we understand MASCOT
n = number of theoretical peaks
k = number of matched peaks (within a given fragment tolerance)
p = probability of finding a single, matched peak by chance
p is calculated by dividing the number of highest intensity peaks (q) by a mass-window size (100 Da)
q is limited by a maximum value, and is optimized for maximum s
based on peak counting instead of intensity sums
Cox, J Prot Res, 2011
Yılmaz, Proteome Bioinformatics (MMB), Springer, 2017

## Slide 16: X!Tandem introduces a hybrid score, based on both peak counting and ion intensity
A successful open source search engine, Craig and Beavis, RCMS 2003
Can be used for MS/MS (PFF) identifications
Based on a hyperscore (Pi is either 0 or 1):
Relies on a hypergeometric distribution (hence hyperscore)
Published core algorithm, and is freely available
Provides hyperscore and expectancy score (the discriminating one)
X!Tandem is fast and can handle modifications in an iterative fashion
Has rapidly gained popularity as (auxiliary) search engine

## Slide 17: X!Tandem’s significance calculation for scores can be seen as a general template
hyperscore
log(# results)
log(# results)
hyperscore
hyperscore
# results
Adapted from: Brian Searle, ProteomeSoftware,
http://www.proteomesoftware.com/XTandem_edited.pdf
significance
threshold
E-value=e-8.2

## Slide 18
Sequencial search algorithms
Decoys and false discovery rate calculation
Database search algorithms in three phases
MS/MS spectra and identification
Protein inference: bad, ugly, and not so good
The future: machine learning

## Slide 19: Sequence tags are as old as SEQUEST, and still have a role to play today
sequence tag
The concept of sequence tags was introduced by Mann and Wilm
1079.61 - SD[IL] - 303.20
Mann, Analytical Chemistry, 1994

## Slide 20: GutenTag, DirecTag, TagRecon
Tabb, Anal. Chem. 2003, Tabb, JPR 2008, Dasari, JPR 2010
Recent implementations of the sequence tag approach
Refine hits by peak mapping in a second stage to resolve ambiguities
Rely on a empirical fragmentation model
Published core algorithms, DirecTag and TagRecon freely available
GutenTag/DirecTag extracts tags, TagRecon matches tags to database
Very useful to retrieve unexpected peptides (modifications, variations)
Entire workflows exist (e.g., combination with IDPicker)

## Slide 21: GutenTag: two stage, hybrid tag searching
Tabb, Analytical Chemistry, 2003

## Slide 22: De novo sequencing tries to read the entire peptide sequence from the spectrum
Example of a manual de novo of an MS/MS spectrum
No more database necessary to extract a sequence!
Algorithms
Lutefisk
Sherenga
PEAKS
PepNovo
RapidNovor
…
References
Dancik 1999, Taylor 2000
Fernandez-de-Cossio 2000
Ma 2003, Zhang 2004
Frank 2005, Grossmann 2005
Ma 2015
…

## Slide 23
Sequencial search algorithms
Decoys and false discovery rate calculation
Database search algorithms in three phases
MS/MS spectra and identification
Protein inference: bad, ugly, and not so good
The future: machine learning

## Slide 24: All hits, good and bad together, form a distribution of scores
Nesvizhskii, J Proteomics, 2010

## Slide 25: If we know how scores for bad hits distribute, we can distinguish good from bad by score

## Slide 26: The separation is not perfect, which leads to the calculation of a local false discovery rate
local false discovery rate
(posterior error probability; PEP)

## Slide 27: Decoy databases are false positive factories, assumed to deliver representative bad hits
- Reversed databases (easy)
LENNARTMARTENS  SNETRAMTRANNEL
- Shuffled databases (slightly more difficult)
LENNARTMARTENS  NMERLANATERTTN (for instance)
- Randomized databases (as difficult as you want it to be)
LENNARTMARTENS  GFVLAEPHSEAITK (for instance)
Three main types of decoy DB’s are used:
The concept is that each peptide identified from the decoy database is an incorrect identification. By counting the number of decoy hits, we can estimate the number of false positives in the original database, provided that the decoys have similar properties as the forward sequences.

## Slide 28: With the help of the scores of decoy hits, we can assess the score distribution of bad hits
local false discovery rate
(posterior error probability; PEP)
Käll, Journal of Proteome Research, 2008
score

## Slide 29
Sequencial search algorithms
Decoys and false discovery rate calculation
Database search algorithms in three phases
MS/MS spectra and identification
Protein inference: bad, ugly, and not so good
The future: machine learning

## Slide 30: Our MS2PIP fragmentation model accurately predicts peptide fragmentation behaviour
Vaudel, Nat. Biotech., 2015
PeptideShaker
https://iomics.ugent.be/ms2pip
Degroeve, Bioinformatics, 2013
Degroeve, Nucleic Acids Research, 2015
https://iomics.ugent.be/ms2pip/
Gabriels, Nucleic Acids Research, 2019

## Slide 31: Our DeepLC model accurately predicts retention times of peptides with unseen modifications
31
Traditional prediction
DeepLC prediction
acetylation
succinylation
propionylation
Traditional prediction
DeepLC prediction
Dataset from Zolg, MCP, 2018
Bouwmeester, Nature Methods, 2021

## Slide 32: MS2PIP and DeepLC in MS²Rescore dramatically boost identification in immunopeptidomics
IDed spectra (100k)
more IDed
spectra
more stringent FDR threshold
1% FDR
0.1% FDR
Percolator
+ MS²PIP
& DeepLC
+ MS²PIP
& DeepLC
https://github.com/compomics/ms2rescore
Declercq, MCP, 2022

## Slide 33: MS²Rescore can also be applied to generic peptidomics data
1% FDR
0.1% FDR
MaxQuant
MS²ReScore
FDR threshold (log scale)
0
20k
40k
60k
80k
# IDed spectra
https://github.com/compomics/ms2rescore

## Slide 34: MS²Rescore also boosts metaproteomics, opening up the prospect of meta-immunopeptidomics
Van Den Bossche et al., in preparation

## Slide 35: MS2PIP and DeepLC power ionbot, a novel open modification search engine with high reliability
…
predictions
ML models
improved ML-based algorithms
fully machine learning-based scoring
sensitive and highly accurate
identification of (modified) peptides
https://ionbot.cloud
Degroeve, https://www.biorxiv.org/content/10.1101/2021.07.02.450686v2

## Slide 36: ionbot shows the value of open modification searches, and of accurate prediction models
PSMs
peptides
https://ionbot.cloud
Degroeve, https://www.biorxiv.org/content/10.1101/2021.07.02.450686v2

## Slide 37: When all PTMs are considered, our view of proteins is changed

## Slide 38: Zooming in shows that not all residues are created equal

## Slide 39: The 3D structure view also becomes rather crowded

## Slide 40
Sequencial search algorithms
Decoys and false discovery rate calculation
Database search algorithms in three phases
MS/MS spectra and identification
Protein inference: bad, ugly, and not so good
The future: machine learning

## Slide 41: Protein inference is a question of conviction
peptides a b c d
proteins
prot X x x
prot Y x
prot Z x x x
Minimal set
Occam
{
peptides a b c d
proteins
prot X x x
prot Y x
prot Z x x x
Maximal set
anti-Occam
{
peptides a b c d
proteins
prot X(-) x x
prot Y(+) x
prot Z(0) x x x
Minimal set with
maximal annotation
{
true Occam?
Martens, Molecular Biosystems, 2007

## Slide 42: The complexity of protein inference is linked to the information ratio of a database
Tryptic cleavage, 1 allowed missed cleavage,
Mass limits from 600 to 4000 Da.
Barsnes, Amino Acids, 2013

## Slide 43: In real life, protein inference issues will be mainly bad, often ugly, and occasionally good

## Slide 44: Protein inference can create issues in quantification due to degenerate peptides
A nice example of the mess of degenerate peptides in quantification
Colaert, Proteomics, 2010